|  |
| --- |
| **UL1061** |

|  |  |
| --- | --- |
|  | UL1061 PVC insulated general purpose electronic hook-up wire resistant to water, oil, acids, solvents and fungus. May be used for the internal wiring of electronic equipment. |
| |  |  | | --- | --- | | Conductor: | Tinned Copper | | Insulation: | PVC | | Temp Rating: | 80°C | | Voltage Rating: | 300 Volts R.M.S. | | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Blake Part Number** | **AWG** | **Stranding** | **Nom. O.D. (in)** | **Nom. Insulation Thickness (in)** | **LBS/MFT** |
| **BW-5030-X** | 24 | 7 x 32 | 0.042 | 0.009 | 2.20 |
| **BW-5040-X** | 22 | 7 x 30 | 0.048 | 0.009 | 3.30 |
| **BW-5050-X** | 20 | 7 x 28 | 0.056 | 0.009 | 4.00 |
| **BW-5060-X** | 18 | 16 x 30 | 0.066 | 0.009 | 7.00 |
| **BW-5070-X** | 16 | 26 x 30 | 0.078 | 0.009 | 9.40 |

X = Color: See Page BCC-1

|  |
| --- |
| **UL1015** |

|  |  |
| --- | --- |
|  | UL1015 PVC insulated general purpose electronic hook-up wire resistant to water, oil, acids, solvents and fungus. May be used for the internal wiring of electronic equipment. |
| |  |  | | --- | --- | | Conductor: | Tinned Copper | | Insulation: | PVC | | Temp Rating: | 105°C | | Voltage Rating: | 600 Volts R.M.S. | | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Blake Part Number** | **AWG** | **Stranding** | **Nom. O.D. (in)** | **Nom. Insulation Thickness (in)** | **LBS/MFT** |
| **BW-5130-X** | 24 | 7 x 32 | 0.088 | 0.032 | 5.11 |
| **BW-5140-X** | 22 | 7 x 30 | 0.094 | 0.032 | 6.27 |
| **BW-5150-X** | 20 | 10 x 30 | 0.100 | 0.032 | 7.60 |
| **BW-5160-X** | 18 | 16 x 30 | 0.112 | 0.032 | 10.16 |
| **BW-5170-X** | 16 | 26 x 30 | 0.124 | 0.032 | 14.36 |
| **BW-5180-X** | 14 | 41 x 30 | 0.134 | 0.032 | 20.10 |
| **BW-5190-X** | 12 | 65 x 30 | 0.162 | 0.032 | 29.66 |
| **BW-5100-X** | 10 | 105 x 30 | 0.180 | 0.032 | 42.40 |

X = Color: See Page BCC-1