|  |
| --- |
| **AA-59569 Tinned Copper Flat Braid** |

|  |  |
| --- | --- |
|  | Made in compliance with MIL-SPEC QQ-B-575 (as revised). Braid is formed so as to maintain coverage of 90% shielding, (70% for 0.78 and smaller), over the nominal diameters specified.  **Tinned Copper Plated:** The tinned copper used in the braid conforms to ASTM B33 standard. |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Blake Part Number** | **Nominal I.D. When Rounded** | **AWG of Individual Ends** | **Carriers** | **# of Wires Per Strand** | **Total # of Individual Ends** | **Approximate AWG Equivalent** | **Approx. Current Carrying Cap. (amps)** |
| **BBD-10200F** | 1/40 | 36 | 8 | 1 | 8 | 27 | 4.0 |
| **BBD-10201F** | 1/32 | 36 | 16 | 1 | 16 | 24 | 6.0 |
| **BBD-10202F** | 3/64 | 36 | 24 | 1 | 24 | 22 | 7.0 |
| **BBD-10203F** | 3/32 | 36 | 16 | 3 | 48 | 19 | 11.0 |
| **BBD-10204F** | 1/16 | 36 | 24 | 2 | 48 | 19 | 11.0 |
| **BBD-10205F** | 7/64 | 36 | 16 | 4 | 64 | 18 | 16.0 |
| **BBD-10206F** | 1/8 | 36 | 24 | 3 | 72 | 18 | 16.0 |
| **BBD-10207F** | 5/32 | 36 | 24 | 4 | 96 | 16 | 19.0 |
| **BBD-10208F** | 3/16 | 36 | 24 | 5 | 120 | 15 | 25.0 |
| **BBD-10209F** | 1/4 | 36 | 24 | 7 | 168 | 14 | 32.0 |
| **BBD-10210F** | 5/32 | 36 | 24 | 10 | 240 | 12 | 40.0 |
| **BBD-10211F** | 13/16 | 36 | 24 | 13 | 312 | 11 | 46.0 |
| **BBD-10212F** | 3/8 | 36 | 48 | 6 | 288 | 12 | 40.0 |
| **BBD-10213F** | 1/2 | 36 | 48 | 8 | 384 | 10 | 53.0 |
| **BBD-10214F** | 5/8 | 36 | 48 | 8 | 384 | 10 | 53.0 |
| **BBD-10215F** | 1/2 | 36 | 48 | 11 | 528 | 9 | 62.0 |
| **BBD-10216F** | 3/4 | 36 | 48 | 18 | 832 | 7 | 85.0 |
| **BBD-10217F** | 1 | 36 | 48 | 18 | 832 | 7 | 85.0 |
| **BBD-10218F** | 13/16 | 36 | 48 | 19 | 912 | 7 | 93.0 |
| **BBD-10219F** | 3/4 | 36 | 24 | 67 | 1608 | 4 | 125.0 |
| **BBD-10220F** | 1 5/8 | 36 | 48 | 84 | 4032 | 1/0 | 230.0 |