|  |
| --- |
| **AA-59569 Silver Plated Copper Flat Braid** |

|  |  |
| --- | --- |
|  | Made in compliance with MIL-SPEC QQ-B-575 (as revised). Braid is formed so as to maintain coverage of 90% shielding, (70% for 0.78 and smaller), over the nominal diameters specified.  **Silver Plated:** Individual wires are silver plated copper wires, conforming to ASTM B298 standard, with 40 micro inches minimum of silver plating. Excellent for use at temperatures exceeding 200°C or where special resistance to corrosion is required |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Blake Part Number** | **Nominal Inside Diameter (inch)** | **AWG of Individual Ends** | **Carriers** | **# of Wires Per Strand** | **Total # of Individual Ends** | **Approximate AWG Equivalent** | **Approx. Current Carrying Cap. (amps)** |
| **BBD-10329F** | 0.562 | 30 | 48 | 10 | 480 | 3 | 145.0 |
| **BBD-10330F** | 0.656 | 30 | 48 | 16 | 768 | 1 | 190.0 |
| **BBD-10331F** | 0.781 | 36 | 48 | 18 | 864 | 7 | 88.0 |
| **BBD-10332F** | 0.781 | 34 | 48 | 11 | 528 | 7 | 88.0 |
| **BBD-10333F** | 0.781 | 32 | 48 | 7 | 336 | 7 | 88.0 |
| **BBD-10334F** | 0.875 | 30 | 48 | 7 | 336 | 5 | 100.0 |
| **BBD-10335F** | 1.000 | 30 | 48 | 8 | 384 | 4 | 120.0 |
| **BBD-10336F** | 1.125 | 30 | 48 | 9 | 432 | 4 | 130.0 |
| **BBD-10337F** | 1.375 | 30 | 48 | 11 | 528 | 3 | 150.0 |
| **BBD-10338F** | 1.500 | 30 | 48 | 12 | 576 | 2 | 165.0 |