|  |
| --- |
| **AMS-DTL-23053/8** |

|  |  |
| --- | --- |
|  | M23053/8 is a flame retardant, semi-rigid, irradiated Polyvinylidene Fluoride. It is a tough thin wall tubing with outstanding cut-through, abrasion, and heat resistance. M23053/8 has a shrink ratio of 50%, 2:1 and an operating temperature of -55°C to 175°C. |
| |  | | --- | | UL 224 VW-1 | | MIL-DTL-23053/8 | | AMS-3632 | | CSA OFT | | RoHS Compliant | | |

**Storage Life 5 Years**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Blake Part Number** | **Size in Inches** | **Expanded I.D. (in)** | **Recovered I.D. (in)** | **Nom. Recovered Wall Thickness (in)** |
| **BT-800-101-C** | 3/64 | 0.046 | 0.023 | 0.018 |
| **BT-800-102-C** | 1/16 | 0.063 | 0.031 | 0.018 |
| **BT-800-103-C** | 3/32 | 0.093 | 0.046 | 0.020 |
| **BT-800-104-C** | 1/8 | 0.125 | 0.062 | 0.020 |
| **BT-800-105-C** | 3/16 | 0.187 | 0.093 | 0.020 |
| **BT-800-106-C** | 1/4 | 0.250 | 0.125 | 0.025 |
| **BT-800-107-C** | 3/8 | 0.375 | 0.187 | 0.025 |
| **BT-800-108-C** | 1/2 | 0.500 | 0.250 | 0.025 |
| **BT-800-109-C** | 3/4 | 0.750 | 0.500 | 0.030 |
| **BT-800-110-C** | 1 | 1.000 | 0.750 | 0.035 |
| **BT-800-111-C** | 1 1/2 | 1.500 | 0.080 | 0.040 |

AMS-DTL-23053/8 is only available in Clear