|  |
| --- |
| **SJ Cables** |

|  |  |
| --- | --- |
|  | SJ cord features good flexibility in low temperatures and is suitable for use in conditions where the cord is not subject to acid, grease, oil, or solvents. |
| |  |  | | --- | --- | | Conductor: | Bare Copper | | Insulation: | Premium Grade Color Coded SBR | | Jacket: | SBR | | Temp Rating: | 60°C | | Voltage Rating: | 300 Volts R.M.S. | | Color Code Chart: | See Chart BCC-2 | | |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Blake Part Number** | **AWG** | **Number of Conductors** | **Stranding** | **Insulation** | **Jacket (inches)** | **O.D. (Inches)** | **AMPS** |
| **BCB-8642** | 18 | 2 | 16 x 30 | 0.030 | 0.030 | 0.280 | 10 |
| **BCB-8643** | 18 | 3 | 16 x 30 | 0.030 | 0.030 | 0.300 | 10 |
| **BCB-8644** | 18 | 4 | 16 x 30 | 0.030 | 0.030 | 0.325 | 7 |
| **BCB-8632** | 16 | 2 | 26 x 30 | 0.030 | 0.030 | 0.305 | 13 |
| **BCB-8633** | 16 | 3 | 26 x 30 | 0.030 | 0.030 | 0.325 | 13 |
| **BCB-8634** | 16 | 4 | 26 x 30 | 0.030 | 0.030 | 0.350 | 10 |
| **BCB-8622** | 14 | 2 | 41 x 30 | 0.030 | 0.030 | 0.335 | 18 |
| **BCB-8623** | 14 | 3 | 41 x 30 | 0.030 | 0.030 | 0.360 | 18 |
| **BCB-8624** | 14 | 4 | 41 x 30 | 0.030 | 0.030 | 0.390 | 15 |
| **BCB-8612** | 12 | 2 | 65 x 30 | 0.030 | 0.045 | 0.405 | 25 |
| **BCB-8613** | 12 | 3 | 65 x 30 | 0.030 | 0.045 | 0.425 | 25 |
| **BCB-8614** | 12 | 4 | 65 x 30 | 0.030 | 0.045 | 0.465 | 20 |
| **BCB-8602** | 10 | 2 | 104 x 30 | 0.045 | 0.060 | 0.540 | 30 |
| **BCB-8603** | 10 | 3 | 104 x 30 | 0.045 | 0.060 | 0.565 | 30 |
| **BCB-8604** | 10 | 4 | 104 x 30 | 0.045 | 0.060 | 0.625 | 25 |

|  |
| --- |
| **SVO Cables** |

|  |  |
| --- | --- |
|  | SVO Cord is commonly used with household appliances and electronic equipment such as food preparing machines, lamps, clocks, fans, blowers, personal computers, monitors and printers. |
| |  |  | | --- | --- | | Conductor: | Bare Copper | | Insulation: | Premium Grade EPDM | | Jacket: | Neoprene | | Temp Rating: | 90°C | | Voltage Rating: | 300 Volts R.M.S. | | Color Code Chart: | See Chart BCC-2 | | |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Blake Part Number** | **AWG** | **Number of Conductors** | **Stranding** | **Insulation** | **Jacket (inches)** | **O.D. (Inches)** | **AMPS** |
| **BCB-8842** | 18 | 2 | 41 x 34 | 0.015 | 0.030 | 0.225 | 10 |
| **BCB-8843** | 18 | 3 | 41 x 34 | 0.015 | 0.030 | 0.237 | 10 |