|  |
| --- |
| **MIL-I-3190/6** |

|  |  |
| --- | --- |
| Macintosh HD:Users:martinweiner1:Desktop:21cb1mBD1fL.jpg | **Expandable Sleeving**products to a variety of industries. [Expandable Sleeving](http://www.awcwire.com/ProductTOC.aspx?id=Sleeving) offers an easy, affordable alternative to [heat shrink tubing](http://www.awcwire.com/ProductTOC.aspx?id=Heat-Shrink-Tubing). This type of sleeving is convenient because it adjusts to fit comfortably over wire and cable components without heat-shrinking. This saves you the hassle of dealing with the extra hassle and cost of heat shrink equipment  . |
| |  |  |  |  | | --- | --- | --- | --- | | Silicone Rubber Coated Fiber Glass Sleeving | |  | **Specifications** | | Operational Temp. Rating | 200°C |  | MIL-I-3190/6 | | Operational Voltage Rating | 600 Volts |  |  | | Grade | HA1 |  |  | | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Blake Part Number** | **ASTM Size** | **M3190 Size** | **Inside Diameter (inches)** | | |
| **Nom.** | **Min.** | **Max.** |
| **BSRF946-24-X** | 24 | 0 | .022 | .020 | .027 |
| **BSRF946-22-X** | 22 | 1 | .027 | .025 | .032 |
| **BSRF946-20-X** | 20 | 2 | .034 | .032 | .039 |
| **BSRF946-19-X** | 19 | 3 | .038 | .036 | .044 |
| **BSRF946-18-X** | 18 | 4 | .042 | .040 | .049 |
| **BSRF946-17-X** | 17 | 5 | .047 | .045 | .055 |
| **BSRF946-16-X** | 16 | 6 | .053 | .051 | .061 |
| **BSRF946-15-X** | 15 | 7 | .059 | .057 | .066 |
| **BSRF946-14-X** | 14 | 8 | .066 | .064 | .072 |
| **BSRF946-13-X** | 13 | 9 | .076 | .072 | .080 |
| **BSRF946-12-X** | 12 | 10 | .085 | .081 | .089 |
| **BSRF946-11-X** | 11 | 11 | .095 | .091 | .101 |
| **BSRF946-10-X** | 10 | 12 | .106 | .102 | .112 |
| **BSRF946-9-X** | 9 | 13 | .118 | .114 | .124 |
| **BSRF946-8-X** | 8 | 14 | .133 | .129 | .141 |
| **BSRF946-7-X** | 7 | 15 | .148 | .144 | .158 |
| **BSRF946-6-X** | 6 | 16 | .166 | .162 | .178 |
| **BSRF946-5-X** | 5 | 17 | .186 | .182 | .198 |
| **BSRF946-4-X** | 4 | 18 | .208 | .204 | .224 |
| **BSRF946-3-X** | 3 | 19 | .234 | .229 | .249 |
| **BSRF946-2-X** | 2 | 20 | .263 | .258 | .278 |
| **BSRF946-1-X** | 1 | 21 | .294 | .289 | .311 |
| **BSRF946-0-X** | 0 | 22 | .330 | .325 | .347 |
| **BSRF946-5/16-X** | 5/16 | N/A | .313 | .313 | .334 |
| **BSRF946-3/8-X** | 3/8 | 23 | .375 | .375 | .399 |
| **BSRF946-7/16-X** | 7/16 | 24 | .438 | .438 | .462 |
| **BSRF946-1/2-X** | 1/2 | 25 | .500 | .500 | .524 |
| **BSRF946-9/16-X** | 9/16 | N/A | .563 | .563 | .585 |
| **BSRF946-5/8-X** | 5/8 | 26 | .625 | .625 | .655 |
| **BSRF946-3/4-X** | ¾ | 27 | .750 | .750 | .786 |
| **BSRF946-7/8-X** | 7/8 | 28 | .875 | .875 | .911 |
| **BSRF946-1-X** | 1” | 29 | 1.00 | 1.00 | 1.04 |

|  |  |
| --- | --- |
| **Available Colors** | |
| 9 = | White |
| N = | Natural |
| 0 = | Black |