|  |
| --- |
| **M16878/14 or NEMA HP5 TYPE L** |

|  |  |
| --- | --- |
|  | M16878/14 is a cross-linked polyethylene (PE) insulated general purpose electronic hook-up wire. This wire is commonly used in switchboards, panel boards, and distribution boards. |
| |  |  | | --- | --- | | Conductor: | Tin Plated Copper | | Insulation: | Cross-linked PE | | Temp Rating: | 125°C | | Voltage Rating: | 600 Volts R.M.S. | | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Blake Part Number** | **AWG** | **Stranding** | **Diameter in Inches** | | **Nom. O.D. (in)** |
| **Min** | **Max** |
| **BW-321L-X** | 32 | Solid | 0.024 | 0.030 | 0.008 |
| **BW-327L-X** | 32 | 7 x 40 | 0.026 | 0.032 | 0.010 |
| **BW-301L-X** | 30 | Solid | 0.026 | 0.032 | 0.010 |
| **BW-307L-X** | 30 | 7 x 38 | 0.028 | 0.034 | 0.012 |
| **BW-281L-X** | 28 | Solid | 0.029 | 0.035 | 0.013 |
| **BW-287L-X** | 28 | 7 x 36 | 0.031 | 0.037 | 0.015 |
| **BW-261L-X** | 26 | Solid | 0.032 | 0.038 | 0.016 |
| **BW-267L-X** | 26 | 7 x 34 | 0.035 | 0.041 | 0.019 |
| **BW-2619L-X** | 26 | 19 x 38 | 0.035 | 0.041 | 0.020 |
| **BW-241L-X** | 24 | Solid | 0.036 | 0.044 | 0.020 |
| **BW-247L-X** | 24 | 7 x 32 | 0.040 | 0.047 | 0.024 |
| **BW-2419L-X** | 24 | 19 x 36 | 0.040 | 0.047 | 0.025 |
| **BW-221L-X** | 22 | Solid | 0.041 | 0.050 | 0.025 |
| **BW-227L-X** | 22 | 7 x 30 | 0.046 | 0.053 | 0.030 |
| **BW-2219L-X** | 22 | 19 x34 | 0.046 | 0.053 | 0.032 |
| **BW-201L-X** | 20 | Solid | 0.048 | 0.055 | 0.032 |
| **BW-207L-X** | 20 | 7 x 28 | 0.054 | 0.061 | 0.038 |
| **BW-2019L-X** | 20 | 19 x 32 | 0.054 | 0.061 | 0.040 |
| **BW-181L-X** | 18 | Solid | 0.056 | 0.064 | 0.040 |
| **BW-187L-X** | 18 | 7 x 26 | 0.064 | 0.071 | 0.048 |
| **BW-1819L-X** | 18 | 19 x 30 | 0.064 | 0.071 | 0.050 |
| **BW-161L-X** | 16 | Solid | 0.067 | 0.075 | 0.051 |
| **BW-1619L-X** | 16 | 19 x 29 | 0.073 | 0.081 | 0.057 |
| **BW-141L-X** | 14 | Solid | 0.080 | 0.088 | 0.064 |
| **BW-1419L-X** | 14 | 19 x 27 | 0.088 | 0.096 | 0.072 |

X = Color: See Page BCC-1