|  |
| --- |
| **M16878/15 or NEMA HP5 TYPE LL** |

|  |  |
| --- | --- |
|  | M16878/15 is a cross-linked polyethylene (PE) insulated general purpose electronic hook-up wire. This wire is commonly used in switchboards, panel boards, and distribution boards. |
| |  |  | | --- | --- | | Conductor: | Tin Plated Copper | | Insulation: | Cross-linked PE | | Temp Rating: | 125°C | | Voltage Rating: | 1000 Volts R.M.S. | | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Blake Part Number** | **AWG** | **Stranding** | **Diameter in Inches** | | **Nom. O.D. (in)** |
| **Min** | **Max** |
| **BW-261LL-X** | 26 | Solid | 0.046 | 0.054 | 0.016 |
| **BW-267LL-X** | 26 | 7 x 34 | 0.049 | 0.057 | 0.019 |
| **BW-2619LL-X** | 26 | 19 x 38 | 0.049 | 0.057 | 0.020 |
| **BW-241LL-X** | 24 | Solid | 0.050 | 0.058 | 0.020 |
| **BW-247LL-X** | 24 | 7 x 32 | 0.054 | 0.062 | 0.024 |
| **BW-2419LL-X** | 24 | 19 x 36 | 0.054 | 0.062 | 0.025 |
| **BW-221LL-X** | 22 | Solid | 0.055 | 0.064 | 0.054 |
| **BW-227LL-X** | 22 | 7 x 30 | 0.060 | 0.068 | 0.030 |
| **BW-2219LL-X** | 22 | 19 x34 | 0.060 | 0.068 | 0.032 |
| **BW-201LL-X** | 20 | Solid | 0.062 | 0.070 | 0.032 |
| **BW-207LL-X** | 20 | 7 x 28 | 0.068 | 0.076 | 0.038 |
| **BW-2019LL-X** | 20 | 19 x 32 | 0.068 | 0.076 | 0.040 |
| **BW-181LL-X** | 18 | Solid | 0.070 | 0.079 | 0.040 |
| **BW-187LL-X** | 18 | 7 x 26 | 0.076 | 0.086 | 0.048 |
| **BW-1819LL-X** | 18 | 19 x 30 | 0.076 | 0.086 | 0.050 |
| **BW-161LL-X** | 16 | Solid | 0.080 | 0.089 | 0.051 |
| **BW-1619LL-X** | 16 | 19 x 29 | 0.087 | 0.095 | 0.057 |
| **BW-1626LL-X** | 16 | 26 x 30 | 0.090 | 0.098 | 0.060 |
| **BW-141LL-X** | 14 | Solid | 0.094 | 0.103 | 0.064 |
| **BW-1419LL-X** | 14 | 19 x 27 | 0.102 | 0.110 | 0.072 |
| **BW-1219LL-X** | 12 | 19 x 25 | 0.121 | 0.129 | 0.091 |
| **BW-1237LL-X** | 12 | 37 x 28 | 0.119 | 0.127 | 0.089 |
| **BW-1265LL-X** | 12 | 65 x 30 | 0.123 | 0.131 | 0.093 |

X = Color: See Page BCC-1